## A - Water Summary
Existing Water System Summary
(add or delete cells or rows as necessary)
Community Name:
Public Water Supply Number (PWS):
Existing Water Demand |  |  |  | Projected Water Demand
Service Population: |  | ?? | Persons | Service Population: | ?? | persons
Avg. Day Demand: |  | ?? | MGD | Projected Population | ?? | persons
Max Day Demand: |  | ?? | MGD | Avg. Day Demand: | ?? | MGD
Avg. Daily Billing |  | ?? | MGD | Max Day Demand: | ?? | MGD
Non Revenue Water |  | #VALUE! | MGD
Non Revenue Water |  | #VALUE! | %
Water Supply
Water Supply Type - Surface, Groundwater, or Purchase
Surface Water
Withdrawal Capacity |  | ?? | MGD
Purchase Water
Contract Expiration Date |  | ??
Avg. Quantity Allottment |  | ?? | GPD | Distribution System:
Max. Quantity Allottment |  | ?? | GPD |  | Material | Footage | Age
|  |  |  | 4" watermain | ?? | ?? | ??
| Rated | Date | Depth | 6: watermain | ?? | ?? | ??
Well | Capacity | Drilled | (ft) | 8" watermain | ?? | ?? | ??
| (gpm) |  |  | 10" watermain | ?? | ?? | ??
Well ? | ?? | ?? | ?? | 12" watermain | ?? | ?? | ??
Well ? | ?? | ?? | ??
|  |  |  | # of Hydrants | ??
|  |  |  | # of Valves | ??
Water Treatment
Treatment Type |  | ?? |  | Storage
Const. Date |  | ?? |  | Tank Type: | ??
Maximum Capacity |  | ?? | MGD | Volume: | ?? | Gal
Reliable Capacity |  | ?? | MGD | Const Date: | ??
- over 20 hours with largest unit out of service |  |  |  | Last Paint Date: | ??
List each component of the process, including capacity and condition

## B - Sewer Summary
Existing System Sewer Summary
(add or delete rows or cells as necessary)
Community Name:
NPDES Discharge Permit #:
Existing Flows/Loadings |  |  |  | Projected Flows/Loadings
Service Population: | ?? | Persons |  | Service Population: | ?? | Persons
ADW Flow | ?? | MGD |  | ADW Flow | ?? | MGD
AWW30 Flow | ?? | MGD |  | AWW30 Flow | ?? | MGD
AWW180 Flow | ?? | MGD |  | AWW180 Flow | ?? | MGD
MWW Flow | ?? | MGD |  | MWW Flow | ?? | MGD
PHWW Flow | ?? | MGD |  | PHWW Flow | ?? | MGD
Avg Infiltration Ratio | #VALUE!
Max Infiltration Ratio | #VALUE!
BOD Loading: | ?? | PPD |  | BOD Loading: | ?? | PPD
1. ADW = Average Dry Weather Flow - Average of dryest 30 day consecutive period
2. AWW30 = Average Wet Weather Flow (30 day) - Average of wettest 30 day constecutive period
3. AWW180 = Average Wet Weather Flow (180 day) - Average of wettest 180 day consecutive period
4. MWW = Maximum Wet Weather Flow - Maximum daily flow received during 24 hour period
5. PHWW = Peak Hourly Wet Weather Flow - peak flow received during 1 hour period
Collection Sewer Type:
(gravity, pressure, STEP)
Sewers | Footage | Material | Age | Condition | Manholes
8-inch | ?? | ?? | ?? | ?? | ??
10-inch | ?? | ?? | ?? | ?? | ??
12-Inch | ?? | ?? | ?? | ?? | ??
Lift Stations
Pumping
L.S. No. | Type | Capacity | Age | Condition | Standby Power (Y/N)
1 | ?? | ?? | ?? | ??
2 | ?? | ?? | ?? | ??
3 | ?? | ?? | ?? | ??
Wastewater Treatment
Treatment Type |  | ??
Const. Date |  | ??
Maximum Capacity |  | ?? | MGD
Reliable Capacity |  | ?? | MGD
- with largest unit out of service
List each component of the process, including capacity and condition
Adequate Standby Power (Y/N): |  | ??
Discharge Effluent Criteria:
List

## C - Operating Budget
Operating Budget
For First Full Year After Construction
(add or delete rows as necessary)
Community Name:
A. Applicant Fiscal Year:
B. Income: |  | From Water Sales or Sewer Rates & Charges: |  |  | 0
|  | Other (e.g. hydrant rentals, etc) |  |  | 0
|  | Total Income: |  |  | 0
C. O&M Costs:
| Utilities |  |  |  | 0
| Insurance/Audit |  |  |  | 0
| Salaries/Benefits |  |  |  | 0
| Lab/Testing Costs |  |  |  | 0
| Vehicle Expenses |  |  |  | 0
| Administrative/Office |  |  |  | 0
| Repairs/Maintenance (excluding SLA) |  |  |  | 0
| Supplies |  |  |  | 0
| Chemicals |  |  |  | 0
| Legal |  |  |  | 0
| Water Purchase |  |  |  | 0
| Other |  |  |  | 0
|  |  |  | Total O&M: | 0
|  |  |  | Net Income: | 0
D. Debt Payment and Reserves
| Short Lived Asset Reserve |  |  |  | 0
| Bond Reserve |  |  |  | 0
| Debt Repayment for USDA Loan |  |  |  | 0
| Debt Repayment - Other |  |  |  | 0
|  |  | Total Debt Payment/Reserves: |  | 0
|  | Excess/Deficit over Net Income: |  |  | 0

## D - Life Cycle Analysis
Life Cycle Analysis & Short Lived Assets
Community Name:
Highlighted data is example only. Modify per your project. Add or delete rows as needed.
[6 empty] | *Federal Discount Rate for Water Resources Planning (Interest Rate) i = | 0.005
[6 empty] | Number of Years for Life Cycle Analysis, n = | 20 | years
Life Cycle Analysis
Alternative 1: |  |  | Alternative 2: |  |  | Alternative 3:
| Initial Capital Costs = | 1000000 |  | Initial Capital Costs = | 1200000 |  | Initial Capital Costs = | 1200000
| Annual O&M Costs = | 60000 |  | Annual O&M Costs = | 40000 |  | Annual O&M Costs = | 50000
| Present Worth of O&M** = | 1139245.1488 |  | Present Worth of O&M* = | 759496.7659 |  | Present Worth of O&M* = | 949370.9573
| Annual SLA = | 15800 |  | Annual SLA = | 14133.3333 |  | Annual SLA = | 17133.3333
| Present Worth of SLA = | 300001.2225 |  | Present Worth of SLA = | 268355.5239 |  | Present Worth of SLA = | 325317.7814
| Present Worth |  |  | Present Worth |  |  | Present Worth
| of Salvage Value = | -550579.9334 |  | of Salvage Value = | -663712.7965 |  | of Salvage Value = | -663712.7965
| Alternative 1 |  |  | Alternative 2 |  |  | Alternative 3
| Total Present Worth = | 1588665.2154 |  | Total Present Worth = | 1295783.9694 |  | Total Present Worth = | 1485658.1609
**PW of Annual Cost = Annual O&M * [(1+i)n-1]/[i(1+i)n]
| Salvage Value Calculations |  |  | PW of Salvage Value = Remaining Value x (1/(1+i)n)
Alternative 1
| Component | Useful Life (yrs) | Present Cost | Remaining Value | Present Worth
| Equipment | 40 | 500000 | 250000 | 226265.7261
| Piping | 80 | 300000 | 225000 | 203639.1535
| Building | 60 | 200000 | 133333.3333 | 120675.0539
|  |  |  | Total Alternative 1 Salvage Value | 550579.9334
Alternative 2
| Component | Useful Life (yrs) | Present Cost | Remaining Value | Present Worth
| Equipment | 40 | 600000 | 300000 | 271518.8713
| Piping | 80 | 400000 | 300000 | 271518.8713
| Building | 60 | 200000 | 133333.3333 | 120675.0539
|  |  |  | Total Alternative 2 Salvage Value | 663712.7965
Alternative 3
| Component | Useful Life (yrs) | Present Cost | Remaining Value | Present Worth
| Equipment | 40 | 600000 | 300000 | 271518.8713
| Piping | 80 | 400000 | 300000 | 271518.8713
| Building | 60 | 200000 | 133333.3333 | 120675.0539
|  |  |  | Total Alternative 3 Salvage Value | 663712.7965
Short Lived Assets (SLA)
1. Items listed and life expectancy are just examples, use your own data
2. Do not include SLA with a life expectancy greater than 15 years.
3. SLA list is intended to include only critical equipment items in which reserve funds will be set aside annually for replacement.
Alternative 1
|  | Years of Life | Number of | Replacement | Replacement | Funds to Set
Item |  | Expectancy | Units | Cost Each | Cost Item | Aside Yearly
Well Pumps |  | 15 | 2 | 10000 | 20000 | 1333.3333
Well Pump Controls |  | 10 | 1 | 15000 | 15000 | 1500
Chem Feed Equipment |  | 10 | 1 | 3000 | 3000 | 300
Well Servicing |  | 5 | 3 | 10000 | 30000 | 6000
Elevated Tank Painting |  | 15 | 1 | 100000 | 100000 | 6666.6667
[5 empty] | Alternative 1 SLA Reserve | 15800
Alternative 2
|  | Years of Life | Number of | Replacement | Replacement | Funds to Set
Item |  | Expectancy | Units | Cost Each | Cost Item | Aside Yearly
Well Pumps |  | 15 | 2 | 10000 | 20000 | 1333.3333
Well Pump Controls |  | 10 | 1 | 15000 | 15000 | 1500
Chem Feed Equipment |  | 10 | 1 | 3000 | 3000 | 300
Well Servicing |  | 5 | 3 | 10000 | 30000 | 6000
Ground Tank Painting |  | 15 | 1 | 75000 | 75000 | 5000
[5 empty] | Alternative 2 SLA Reserve | 14133.3333
Alternative 3
|  | Years of Life | Number of | Replacement | Replacement | Funds to Set
Item |  | Expectancy | Units | Cost Each | Cost Item | Aside Yearly
Well Pumps |  | 15 | 2 | 10000 | 20000 | 1333.3333
Well Pump Controls |  | 10 | 1 | 15000 | 15000 | 1500
Chem Feed Equipment |  | 10 | 1 | 3000 | 3000 | 300
Well Servicing |  | 5 | 3 | 10000 | 30000 | 6000
Elevated Tank Painting |  | 15 | 1 | 120000 | 120000 | 8000
[5 empty] | Alternative 3 SLA Reserve | 17133.3333
* Note that interest rate changes annually according to OMB Circular A-94. Rate shown is for calendar year 2022.